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	POOL CONSTRUCTION
Inspection Checklist
	PERMIT #

	JURISDICTION







	
	



01  Project
	CUSTOMER

	PROJECT ADDRESS

	JOB #

	INSPECTION LINE




	PERMIT ISSUED

	POOL TYPE
  ☐ Gunite   ☐ Shotcrete   ☐ Other:  ______________ 
	SUPERINTENDENT




	Before you start. Inspections, their order, and what is checked vary by jurisdiction. Edit this list to match the inspections on your permit and the code edition your jurisdiction has adopted. Keep the permit card and approved plans on site for every inspection.


02  Inspections

	 1    Layout / setback	RESULT   ☐ Pass   ☐ Partial   ☐ Fail

		☐  Pool and spa outline painted or staked per the approved site plan
	☐  Setbacks to property lines, house, septic, and easements measured

	☐  Utility locate (811) marked and clear of the dig area
	☐  Equipment pad location matches the plan


	DATE INSPECTED

	INSPECTOR

	NOTES / CORRECTIONS REQUIRED







	 2    Pre-gunite / pre-shotcrete: steel & bonding	RESULT   ☐ Pass   ☐ Partial   ☐ Fail

		☐  Rebar size, spacing, and laps match the engineered plan
	☐  Steel supported on chairs or dobies, not lying on soil

	☐  Bond wire attached to the steel shell
	☐  Light niches, metal fittings, and rail or ladder cups bonded

	☐  Depths and dimensions match the plans
	


	DATE INSPECTED

	INSPECTOR

	NOTES / CORRECTIONS REQUIRED







	 3    Plumbing pressure test	RESULT   ☐ Pass   ☐ Partial   ☐ Fail

		☐  All lines capped and holding pressure; gauge visible
	☐  Suction outlets and main drains meet anti-entrapment requirements

	☐  Pipe sizes and materials match the plan
	☐  Skimmers, returns, and lines to the equipment pad in place

	☐  Gas line tested, if a gas heater is installed (often a separate permit)
	


	DATE INSPECTED

	INSPECTOR

	NOTES / CORRECTIONS REQUIRED






02  Inspections  continued

	 4    Electrical & equipotential bonding	RESULT   ☐ Pass   ☐ Partial   ☐ Fail

		☐  Perimeter bonding installed around the pool before the deck pour
	☐  Pump, heater, and metal within the bonding area bonded

	☐  GFCI protection where required
	☐  Conduit, wiring method, and burial depth

	☐  Light junction box location and height
	☐  Equipment disconnect in place


	DATE INSPECTED

	INSPECTOR

	NOTES / CORRECTIONS REQUIRED







	 5    Pre-deck	RESULT   ☐ Pass   ☐ Partial   ☐ Fail

		☐  Deck forms set; slope drains away from the pool and house
	☐  Perimeter bonding visible and connected (if not already inspected)

	☐  Deck drains and drainage path in place
	☐  Clearance from overhead power lines


	DATE INSPECTED

	INSPECTOR

	NOTES / CORRECTIONS REQUIRED







	 6    Barrier, fence & alarms	RESULT   ☐ Pass   ☐ Partial   ☐ Fail

		☐  Barrier height meets the local minimum (commonly 48 in.)
	☐  Gaps under and openings in the barrier within limits

	☐  Gates self-closing and self-latching, opening away from the pool
	☐  Doors from the house protected by alarms or another approved method, where required

	☐  No climbable objects against the outside of the barrier
	☐  Safety cover or pool alarm installed, where required


	DATE INSPECTED

	INSPECTOR

	NOTES / CORRECTIONS REQUIRED







	 7    Final	RESULT   ☐ Pass   ☐ Partial   ☐ Fail

		☐  All earlier inspections passed and signed off
	☐  Equipment installed, labeled, and running

	☐  Electrical final complete
	☐  Barrier, gates, and alarms complete

	☐  Drain and suction covers installed
	☐  Required signage posted; site cleaned up


	DATE INSPECTED

	INSPECTOR

	NOTES / CORRECTIONS REQUIRED






03  Final approval
		FINAL APPROVAL DATE

	CERTIFICATE / FINAL CARD #




	
	
CONTRACTOR SIGNATURE · superintendent
	PRINTED NAME

	DATE









Requirements vary by jurisdiction; confirm local code and permit conditions.
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